QUOTATION

Date: 21-10-2025

Invoice No: 69

GST NO :- 37ABEFP6758K1ZK

FROM 							    BILL TO :-

COMPANY: PRIMARIA HEALTHCARE LLP. 	    Hospital Name : Sunshine

ADDRESS:

EMAIL ID: afrozs@primariahealthcare.com	    EMAIL ID:

PHONE NO: +91 8121-222-570				    PHONE NO:9133282555

| Sl.No | Description of the items | Qty | Rate each (Set) | GST% | Total Amount Incl Of GST |
| --- | --- | --- | --- | --- | --- |
| 1 | Mookambida Dental Unit - Electrically operated Dental chair with zero program - Right Arm Rotatable for Easy Access - LED Operating light having on/off and intensity control by non-touch sensor - White transparent glass / (PCR4) Chair side porcelain Spittoon detachable with Auto water connection - High and Low vacuum “Dryco” suction with auto drain & auto flush System Modular Trolley System With Hanging Cord. - Airotor Points (W/o HP) 2 Nos - Supreme micromotor 1 No - Supreme non-optic Scalar with 5 tips - Beecool II Light cure unit - Multi function foot control 1 No - 3-Way syringe 2 Nos - LED X-Ray viewer 1 No - Stainless Steel Instrument Tray 1 No | 1 | 1,98563.4 | 12% | 2,22,391/- |

|  | - SURGI" Dental Operators Stool. | 1 | 7,170.34 | 18% | 8,461 |
| --- | --- | --- | --- | --- | --- |
| 2 | Generoy Portable X-Ray | 1 | 1,23,116 | 12% | 1,37,890 |
| 3 | Radiovisiography: ECO, Confident Make Sensor size 1, software to capture and enchancement the image. Eco smart sensor is an innovative, flexible, ultra— resistant sensor that easily adapts to the anatomy of the oral cavity. The rounded edges makes it more comfortable for patients, and the extra—hard¬wearing material protect it from impact and bites, thus increasing its lifetime Durable & Reliable Pixel Size 20x20 Micron Sensor Cable Length 2mtr Computer i3 Vostro Small Desktop 12th Gen Intel® Core™ i3-12100 processor (4-Core, 12M Cache, 3.3GHz to 4.3GHz) Windows 11 Home Single Language, English Intel® UHD Graphics 730 with shared graphics memory 8 GB: 1 x 8 GB, DDR5, 4400 MT/s RAM 512GB M.2 PCIe NVMe Solid State Drive Dell Multimedia Wired Keyboard & Mouse Monitor 19.5 Inch | 1 | 1,41,240 | 12% | 1,58,189 |
| 4 | UV Chamber(12 tray) - All around elevated border SS to prevent instrument tray on falling when trolley is moving. - Moveable Cabinet with wheels - Top SS having elevated border - Easy opening with channels - Anticorrosive - Drawer of five to six different sizes with large one in the bottom followed by smaller ones in - the top | 1 | 23,165 | 12% | 25,945 |

|  | - Single key lock mechanism for the drawers |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 5 | Compressor 0.7hp(oil free medical grade(noise free) Oil-free, Medical Grade, Mono- bloc 0.75HP Compressor with Radiator, cooler, condenser, silicon column filter for moisture, dust filter, microbial filter fitted on MS tank The Compressor fitted with : - Built-in Thermo cut-off to save the motor during excess of heat. - Auto head Air Release Valve. - Automatic Cut-off. - Safety Release Valve. - Drain Valve. - Pressure Gauge. - The Inner surface of the Compressor Tank should be coated with Epoxy to prevent rusting. | 1 | 20,959 | 18% | 24,732 |
| 6 | Contra-angle High-speed Airotor handpiece Pana Air FX PAFSB2 High- Speed Handpiece NSK Powerful Turbine for High-Speed Performance: Ergonomic Design for Comfortable Handling: | 1 | 10,259 | 12% | 11,490 |
| 7 | Micromotor Supreme clinical Micromotor with control 35000 rpm high torque builtin safety safety device | 1 | 3,860 | 12% | 4,324 |
| 8 | Contrangle micromotor handpiece low speed NSK FX 22 Contra-angle Low- Speed Handpiece The FX 22 Contra-angle features an optimal gear ratio, striking a balance between torque and speed. This versatility makes it suitable for a range of low-speed procedures, including restorative work, endodontics, and prophylaxis. | 1 | 7,313.75 | 12% | 8,191 |

| 9 | Straight micromotor handpiece NSK FX 65 Straight Low-Speed Handpiece Tailored for precision and versatility in low-speed applications Optimal Gear Ratio for Versatile Performance Ergonomic and Lightweight Design | 1 | 12,432 | 12% | 13,924 |
| --- | --- | --- | --- | --- | --- |
| 10 | Glass Bead sterilizer - Variable from 150 - 250 deg C, and temperature within 25 to 30 minutes and maintain uniformly as long as it is on. - Instruments may be kept only for 10 to 30 seconds and will be ready for use. - With High quality glass for retaining the temperature. - Minimum Unit power consumption for day long work. - On reaching 250° C indicator light should be on and the Unit should be ready. | 1 | 3,879.70 | 12% | 4,345 |
| 11 | LED curing unit - Bee Cool Plus Power input 100 – 240 VAC 50 Hz / 60 Hz Power output 5VDC.1A Wave Length: 385nm – 515nm Light intensity: 1000m/ cm2 – 2500mW/cm2 Battery voltage and capacity : 3.7v/1900mAh | 1 | 21,841.97 | 12% | 24,463 |
| 12 | Piezo Scaler - Clean II Description : Automatic frequency tracking system automatically searches for the best working frequency, Automatic degenerative feedback, constant power output, and more comfortable scaling, Detachable handpiece with light Instructions : Technical Info :- Power input – 220-240v, 50/60Hz Main unit input – 24v, 50/60Hz Out put power – 3w to 20w Frequency - 28kHz | 1 | 13,789.12 | 12% | 15,443 |

|  | Water supply pressure – 0.01MPa to 0.5MPa Dimensions – 375x305x120mm (LxWxH) Humidity – 10% - 93% Atmospheric pressure – 70kPa to 106kPa Temperature – -20° to +55°c |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 14 | Autoclave Class B B Class Steriline + 23 Litres: Main Features Sterilization Class : CLASS B Sterilization Temperature : 121°C,134°C Special Program : HIV, HBV long-sterilization program Dry System : Vacuum drying system Display : LCD display Testing System : Bowie&Dick Test, Vacuum Test, Helix Test Control Precision :Temperature: 1°C, Pressure: 0.1bar Sterilization Data : Mini printer Safety System : Relief valve, Hand lock door, Pressure or temperature over load protection & Alarm system Water Supply System : Build-in water tank easy to clean Cubage : 4L Tray Holder 5 layers tray holder with 3 trays Chamber : Medical stainless steel 304 Max working pressure : 2.3bar Min working pressure : 0.9bar Max temperature : 134°C Operation Temperature : 5~40°C | 1 | 1,18,259.73 | 18% | 1,39,546 |

|  | Noise : <50db Water consumption in one cycle : 0.16L~0.18L |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 15 | Water Purifier - Distil Water Plant | 1 | 7,899.51 | 18% | 9,321 |
| 16 | Apex locater with endomotor |  |  |  |  |
|  | Apex locator - Confident This article is for the dental pulp test, it makes the electrical stimulation to the dental nerve, you can record the reaction value of the nerve to calculate the life of the nerve. It is very necessary for the dentist to check the dental nerve. Features : * Preset SPEED MODE (High Medium-Low Speed) * Practical to operate * Maximum stimulus: -80. between 00 and 40, the patient feels pain and anesthesia, live teeth - Between 40 and 80, with a reaction mentioned above, part of the dead dental nerve 80, there is no reaction mentioned above, nerve of dead teeth * The device turns off in 3 minutes after operation (save batteries) - Battery powered, standard 9 volt batteries, extremely economical | 1 | 24,623 | 12% | 27,577 |

|  | Endomotor - Endo Rotor - Confident Ÿ The product is based on ergonomic design whose body is lightweight and is easy to carry. Ÿ There are 6 kinds of procedures (Memory Set) for selection. It can input the optimum data in advance, and also can modify it according to the working conditions in use. Ÿ There is a voice prompt when lack of power. Ÿ Dental Contra-angle Handpiece and lamp holder can withstand 135℃ high temperature and high pressure sterilization. Ÿ Built-in high-capacity lithium battery, so it can reduce battery change times and reduce costs for the machine. Ÿ Charging time: 4 hours approx Ÿ With LED lamp and high brightness, it can help doctors get a better look at the root canal environment. | 1 | 0 |  |  |
| --- | --- | --- | --- | --- | --- |
| 17 | Dental OPG(wall mounted) X-Radius Compact 2D, Castellini, Cefla X-Radius Compact 2D imaging technologies with the smallest footprint in its category, a user- friendly software suite and complete with guided procedures to support your diagnostic potential. Excellent clinical performance is ensured despite exposure protocols which safeguard patient health by minimising radiation exposure. - Sensor: - Advanced CMOS - Tube Head: D Series - Focal Spot: 0.5 mm - Tube Voltage: 60-99kVp - Tube Current: 4-10mA - Gray scale: 14 Bit | 1 | 18,20164.5 | 12% | 20,38,584 |

|  | 8. Specification of Machine Type Complete or partial adult and child panoramic*, Orthogonal Panoramic, SPEED PAN, MultiLevel PAN, Dentition, Bitewing* Frontal and Lateral (right and left) maxillary sinuses, Temporomandibular Joint (2 x Lateral + 2 x Frontal) open and closed mouth. Teleradiography: Skull AP-PA, LL Short/Long, Standard/Quick; Carpal teleradiography (Maximum) theoretical resolution on the patient plane 2D: 5-7 lp/mm (pixel 100-73 µm) CEPH: 6 lp/mm (Pixel 89 µm) Equivalent size on X-ray transparency (cm) PAN: 26.2 (length); 14.4 (height) CEPH: 29.2 (length); 22 (height) Fields of view on patient (mm) PAN: 210 (length) x 115 (height) CEPH: 258 (length); 194 (height) PAN Child: 180 (length) x 100 (height) Dentition: 140 (length); 100 (height) Bitewing: 167 (length); 70 (height) Maximum image data dimensions PAN: 7.5 MB (single image) CEPH: 14 MB Magnification PAN 1.2 - 1.3 EPH 1.13 Scan time PAN: 13.8 s (ORTHO), 12.3 s (STD.), 6.8 s (Speed) CEPH: 9.9 s (STD) - 3.7 s (Speed Estimate of typical effective dose (ICRP 103) PAN: 5 - 9 µSv Minimum image display times RealTime Advanced filters iES (Image Enhancement System) PAN autoFocus Computer - i7 DELL OptiPlex 7410 13th Gen Intel® Core™ i7-13700 (30 MB cache, 16 cores, 24 threads, 2.10 |  |  |  |  |
| --- | --- | --- | --- | --- | --- |

|  | GHz to 5.10 GHz Turbo, 65 W) Windows 11 Pro, English 8 GB, 1 x 8 GB, DDR5 512 GB, M.2 2230, PCIe NVMe, SSD, Class 35 with DVD+/-RW enclosed in Height Adjustable Stand for OptiPlex All-in-One Plus Lead Apron Thyroid Guard Stabilizer 5 KVA |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| 18 | OPG X ray viewer with LED light | 1 | 6,067.21 | 12% | 6,795 |
| 19 | Hospital bed with IV stand(inhouse) Motorized ICU Bed with Embedded Circuit - control 4 Nos. on side board ICU Bed with 4 motors Motor Control (Actuator Motors, Control Box, Hand Set) Bed top: MS Steel embossed with hole Head & Foot Board: PU Moulded Side Guard: PU Moulded side boards with Embedded control 4 Nos. Bed Mounted on Individual, diagnoal Locking Wheels Mattress: 4 Section IV Stand 4 Hook (Saline Stand) Urine Bag Hook Rubber buffer 4 Nos. | 1 | 100,384.83 | 18% | 1,18,454 |
| 20 | X ray Developer Box | 1 | 2,382.76 | 12% | 2,668 |
| 21 | Lead Apron | 1 | 3,309 | 12% | 3,706 |
| 22 | Thyroid Shield | 1 | 1,257 | 12% | 1,408 |
| 23 | Surgical Implant Kit | 1 | 51,742 | 12% | 57,951 |
| 24 | Needle Burner Cum Syringe Destroyer | 1 | 2,382.76 | 12% | 2,668 |
| 25 | Bleaching Light | 1 | 4,19,189 | 12% | 4,69,492 |
| 26 | Magnifying loupes 2.5X | 1 | 1,06,782 | 12% | 1,19,596 |

| 27 | Stethoscope | 1 | 992.81 | 12% | 1,111 |
| --- | --- | --- | --- | --- | --- |
| 28 | Dental Diode Laser - Clean Cut Laser Dental laser with following specification Dimensions (WxHxL): 120 x 155 x 200 mm Weight: approx. 1.8 kg Display: LCD Touch Screen Wavelength: 980 nm Maximum power: 10 W Operation modes: continuous wave (CW) or single pulse or Repeat pulse Pulse duration : 1mS – 1 S Fiber : Fibers of ∅200 µm, ∅400 µm & ∅600 µm Pilot beam: Red Diode Laser of 635 nm Power < 3mW Control mode: Micro touch key & touch screen Voltage / Batter power : Adapter – 110/240V - 47-63Hz | 1 | 2,56,082 | 12% | 2,86,812 |
| 29 | Physiodispensor - Surgic Pro2, Non-Optic NSK Contents - COMPLETE SET with SG20 Control Unit SG80M Non-Optic Micromotor SG20 Handpiece (20:1 Reduction) FOOT CONTROL WIRELESS Irrigation tube (pack of 3) and other accessories Specifications Power Supply AC 100-240 V 50/60 Hz Max. Pump Output 75 mL/min Programs 8 Programs / Implant Systems Dimensions W 245 x D 235 x H 90 mm Torque 5-80 Ncm Motor Speed 200- 40,000 min-1 Light Power (Optic Micromotor) Over 32,000 LUX Foot Control Functions Coolant Solution Flow Volume Button, PRG(Program) Button, Forward/Reverse Button, Speed Control Pedal | 1 | 1,48,922 | 12% | 1,66,793 |
| 30 | BP Apparatus | 1 | 2,757 | 12% | 3,088 |
| 31 | Patient Drape | 1 | 99 | 12% | 111 |

| 32 | Strerilised Instrument Pouch | 1 | 728.0658 | 12% | 815.4337 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 33 | Eye wear | 1 | 198.5634 | 12% | 222.39101 |  |  |
| Disposables |  |  |  |  |  |  |  |
| 38 | Mouth Mask | 1 | 209.5947 | 12% | 234.74606 |  |  |
| 40 | Gloves | 1 | 196.3571 | 12% | 219.92 |  |  |
|  | POWDERFREE | 1 | 206.2853 | 12% | 231.03955 |  |  |
|  | NITRILE | 1 | 216.2135 | 12% | 242.1591 |  |  |
| 42 | Disposable syringes with needles | 1 | 297.8451 | 12% | 333.58651 |  |  |
| Diagnostic Instruments |  |  |  |  |  |  |  |
| 44 | Mouth Mirror with handle | 1 | 1125.1926 | 12% | 1260.2157 |  |  |
| 45 | Explorer - Double ended | 1 | 198.5634 | 12% | 222.39101 |  |  |
| 46 | Nabers Probe | 1 | 397.1268 | 12% | 444.78202 |  |  |
| 47 | Hollenback carver | 1 | 238.27608 | 12% | 266.86921 |  |  |
| 48 | Cotton Plier | 1 | 198.5634 | 12% | 222.39101 |  |  |
| 49 | CPITN Probe | 1 | 397.1268 | 12% | 444.78202 |  |  |
| 50 | Endo Locking Tweezer | 1 | 463.3146 | 12% | 518.91235 |  |  |
| 51 | Straight probe - Single ended | 1 | 198.5634 | 12% | 222.39101 |  |  |
| 52 | Perio Probe - Williams | 1 | 330.939 | 12% | 370.65168 |  |  |
| 53 | Cheek Retractor | 1 | 1125.1926 | 12% | 1260.2157 |  |  |
| 54 | Cheek Retractor PEDO | 1 | 132.3756 | 12% | 148.26067 |  |  |
| 55 | Tweezers | 1 | 264.7512 | 12% | 296.52134 |  |  |
| 56 | Posterior Bite Block | 1 | 397.1268 | 12% | 444.78202 |  |  |
| 57 | Cheatle forceps | 1 | 1125.1926 | 12% | 1260.2157 |  |  |
| 58 | Kidney trays – small | 1 | 72.80658 | 12% | 81.54337 |  |  |
| 59 | Kidney trays – big | 1 | 86.04414 | 12% | 96.369437 |  |  |
| 60 | Steel tray 8” and 10”(each 5) | 1 | 728.0658 | 12% | 815.4337 |  |  |

| Surgical instruments |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 62 | Dental Forceps (Set of 12 pcs) | 1 | 11649 | 12% | 13047 |  |  |
| 63 | Dental Forceps PEDO (Set of 6 pcs) | 1 | 7678 | 12% | 8599 |  |  |
| 64 | Periosteal elevator | 1 | 463 | 12% | 519 |  |  |
| 65 | Straight Elevators | 1 | 728 | 12% | 815 |  |  |
| 66 | Cryers Elevator - Right & left(2 pairs) | 1 | 1456 | 12% | 1631 |  |  |
| 67 | Coupland elevator (No.1,2,3)(1 each) | 1 | 728 | 12% | 815 |  |  |
| 68 | Crane elevator | 1 | 728 | 12% | 815 |  |  |
| 69 | Root Tip | 1 | 2383 | 12% | 2669 |  |  |
| 70 | Surgical Curettes(set) | 1 | 22239 | 12% | 24908 |  |  |
| 71 | Warwicks James elevator - Right & left | 1 | 2118 | 12% | 2372 |  |  |
| 72 | Crossbar - Right & left | 1 | 1456 | 12% | 1631 |  |  |
| 73 | Luxator set | 1 | 14826 | 12% | 16605 |  |  |
| 74 | Artery Forceps | 1 | 629 | 12% | 704 |  |  |
| 75 | Tissue Forceps | 1 | 397 | 12% | 445 |  |  |
| 76 | Kelly Hemostats Curved 51/2" | 1 | 629 | 12% | 704 |  |  |
| 77 | Mosquito forcep | 1 | 629 | 12% | 704 |  |  |
| 78 | Sponge forcep | 1 | 1258 | 12% | 1408 |  |  |
| 79 | Needle Holder | 1 | 629 | 12% | 704 |  |  |
| 80 | Scissors Straight | 1 | 463 | 12% | 519 |  |  |
| 81 | Dean Tissue Scissors | 1 | 728 | 12% | 815 |  |  |
| 82 | Scissors Curved | 1 | 728 | 12% | 815 |  |  |
| 83 | Gum Scissors | 1 | 728 | 12% | 815 |  |  |
| 84 | Sutures 3-0 | 1 | 199 | 12% | 222 |  |  |
| 85 | Suture cutting scissor | 1 | 695 | 12% | 778 |  |  |
| 86 | Scalpel Blade | 1 | 371 | 12% | 415 |  |  |
| 87 | surgical Handpiece - SGAES H263 | 1 | 50704 | 12% | 56789 |  |  |
| 88 | Scalpel | 1 | 46 | 12% | 52 |  |  |

| 89 | Surgical burs(set of 5) | 1 | 162 | 12% | 182 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 90 | Scalpel Blade Remover | 1 | 331 | 12% | 371 |  |  |
| 91 | BP handle SS | 1 | 331 | 12% | 371 |  |  |
| 92 | Surgical Curettes | 1 | 1456 | 12% | 1631 |  |  |
| 93 | Bone Ronguers(side cutting and end cutting ) | 1 | 1853 | 12% | 2076 |  |  |
| 94 | Bone file | 1 | 596 | 12% | 667 |  |  |
| 95 | Cotton bin | 1 | 728 | 12% | 815 |  |  |
| 96 | Cotton holder | 1 | 86 | 12% | 96 |  |  |
| 97 | Towel clamps | 1 | 629 | 12% | 704 |  |  |
| 98 | Tissue Retractor | 1 | 728 | 12% | 815 |  |  |
| 99 | Tongue Retractor | 1 | 993 | 12% | 1112 |  |  |
| 100 | Cheek Retractor | 1 | 106 | 12% | 119 |  |  |
| 101 | ligature wires (pack) | 1 | 463 | 12% | 519 |  |  |
| 102 | Surgical Tray | 1 | 728 | 12% | 815 |  |  |
| 103 | Needles(Short and Long)1 pack each | 1 | 410 | 12% | 460 |  |  |
| 105 | surgical aspirating tips (pack) | 1 | 596 | 12% | 667 |  |  |
| 106 | Bone chisel and mallet | 1 | 993 | 12% | 1112 |  |  |
| 107 | surgical towels (pack) | 1 | 232 | 12% | 259 |  |  |
| Conservative & endo instruments |  |  |  |  |  |  |  |
| 109 | Dappen dish | 1 | 20 | 18% | 23 |  |  |
| 110 | Glass Slab | 1 | 73 | 18% | 86 |  |  |
| 111 | Hollen +B117:B151back carver | 1 | 238 | 12% | 267 |  |  |
| 112 | Interproximal Carver | 1 | 238 | 12% | 267 |  |  |
| 113 | Dycal Instrument | 1 | 2052 | 12% | 2298 |  |  |
| 114 | Amalgam carrier | 1 | 99 | 12% | 111 |  |  |
| 115 | metal Spatula | 1 | 238 | 12% | 267 |  |  |
| 116 | composite instrument Kit | 1 | 4633 | 12% | 5189 |  |  |

| 117 | composite poslishing kit | 1 | 2052 | 12% | 2298 |
| --- | --- | --- | --- | --- | --- |
| 118 | Applicators | 1 | 199 | 12% | 222 |
| 119 | Plastic cement spatula | 1 | 40 | 12% | 44 |
| 120 | Motor And Pastle | 1 | 73 | 12% | 82 |
| 121 | Cement Spatula | 1 | 265 | 12% | 297 |
| 122 | Matrix Bands(Metal& cellophan/ Transparent) | 1 | 1986 | 12% | 2224 |
| 123 | mixing Pad | 1 | 106 | 18% | 125 |
| 124 | Dapen Dish | 1 | 20 | 18% | 23 |
| 125 | Dental Burs | 1 | 331 | 12% | 371 |
| 127 | universal retainer | 1 | 728 | 12% | 815 |
| 128 | Tofflemire Retainer | 1 | 728 | 12% | 815 |
| 129 | Plastic filling instrument | 1 | 238 | 12% | 267 |
| 130 | Point Tip burnisher | 1 | 238 | 12% | 267 |
| 131 | Finishing Strips | 1 | 1853 | 12% | 2076 |
| 132 | Ball Burnisher | 1 | 238 | 12% | 267 |
| 133 | Condensor | 1 | 265 | 12% | 297 |
| 134 | Wedges(Plastic & wooden) | 1 | 238 | 12% | 267 |
| 135 | Spoon excavator | 1 | 238 | 12% | 267 |
| 136 | Bur box | 1 | 106 | 12% | 119 |
| 137 | Endo box | 1 | 596 | 12% | 667 |
| 138 | Agate spatula | 1 | 40 | 12% | 44 |
| 139 | Endo block (Mini) | 1 | 2052 | 12% | 2298 |
| 140 | Rubber dam kit | 1 | 31770 | 12% | 35583 |
| 141 | Articulating paper forcep | 1 | 728 | 12% | 815 |
| 142 | GP heating and cutter | 1 | 993 | 12% | 1112 |
| 143 | DG 16 | 1 | 397 | 12% | 445 |
| 144 | Endodontic 2% hank K files(15- 40 & 45-80 ) | 1 | 238 | 12% | 267 |
| 145 | H files(15-40,45-80) | 1 | 238 | 12% | 267 |

| 146 | Endodontic4%& 6% NITI Files(hand and rotary) | 1 | 1367 | 12% | 1531 |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 147 | Reamers | 1 | 238 | 12% | 267 |  |  |
| 148 | Assorted Broaches | 1 | 179 | 12% | 200 |  |  |
| 150 | Piezo Reamers | 1 | 490 | 12% | 549 |  |  |
| 151 | Finger Spreader | 1 | 490 | 12% | 549 |  |  |
| 152 | Pluggers | 1 | 371 | 12% | 415 |  |  |
| 153 | Irrigation Tips | 1 | 993 | 12% | 1112 |  |  |
| 154 | Gates Glidden Drills | 1 | 490 | 12% | 549 |  |  |
| 155 | Assorted Endo burs | 1 | 1589 | 12% | 1779 |  |  |
| 156 | SuperEndo Disposable Irrigation Needles - Pack of 25 | 1 | 265 | 12% | 297 |  |  |
| Prostho instruments |  |  |  |  |  |  |  |
| 158 | U & L impression trays - dentulous | 1 | 662 | 12% | 741 |  |  |
| 159 | U & L impression trays - edentulous | 1 | 662 | 12% | 741 |  |  |
| 160 | Plaster Spatula - Straight | 1 | 199 | 12% | 222 |  |  |
| 161 | Plaster Spatula - Curved | 1 | 199 | 12% | 222 |  |  |
| 162 | Lacrons Carver | 1 | 238 | 12% | 267 |  |  |
| 163 | Rubber Bowl big | 1 | 79 | 12% | 89 |  |  |
| 164 | Rubber Bowl small | 1 | 66 | 12% | 74 |  |  |
| 165 | Retraction cord | 1 | 993 | 12% | 1112 |  |  |
| 166 | Wax callipers | 1 | 1191 | 12% | 1334 |  |  |
| 167 | Acrylic trimming Burs | 1 | 463 | 12% | 519 |  |  |
| 168 | Crown cutting Burs | 1 | 5030 | 12% | 5634 |  |  |
| 169 | Mixing bowls | 1 | 79 | 12% | 89 |  |  |
| 170 | ligature wires | 1 | 463 | 18% | 547 |  |  |
| 171 | Adams Pliers | 1 | 993 | 12% | 1112 |  |  |
| 172 | Universal Pliers | 1 | 993 | 12% | 1112 |  |  |

| 173 | Laboratory Dental Stone - 5 kg | 1 | 1313 | 5% | 1378 |
| --- | --- | --- | --- | --- | --- |
| 174 | Wax Spatula | 1 | 26 | 12% | 30 |
| 175 | Alcohol torch | 1 | 1853 | 12% | 2076 |
| 176 | Wax Knife | 1 | 265 | 12% | 297 |
| 177 | Wax Spatula | 1 | 265 | 12% | 297 |
| 178 | Crown Remover | 1 | 4633 | 12% | 5189 |
| 179 | Fox plane | 1 | 728 | 12% | 815 |
| 180 | Hot plate | 1 | 73 | 12% | 82 |
| 181 | VITA Classic shade guide | 1 | 7943 | 12% | 8896 |
| 182 | Articulating paper forcep | 1 | 728 | 12% | 815 |
| 183 | Cord packer | 1 | 993 | 18% | 1172 |
| 184 | Light body gun (1:1) | 1 | 1853 | 12% | 2076 |