| PRODUCTS LIST / CATALOGUE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MEDICAL |  |  |  |  |  |
| S.NO | ITEM | TECHNICAL EXPLANATION | REMARKS | IMAGES WITH PACKING | IMAGES OF PRODUCTS |
| 1 | SURGICAL COTTON ABSORBANT , BLEACHED, UNBLEACHED | Rolled surgical cottons Size Available: Rolls of (10g), (25g), (50g), (100g), (300g), (500kg) or custom sizes. sterilization: gama radiation or EO - sterilization | Packing: wrapped in moisture- proof paper. Need to confirm th size |  |  |
| 2 | BANDAGE GAUGE CLOTH | Material used: cotton gauze Size Available: Rolls of (5cm x 3m), (7.5cm x 3m), (10cm x 3m), (15cm x 3m) sterilization: gama radiation or EO - sterilization | Packing: EO sterilaziation compactable pouches or flow wrapping or wrapped with Medical grade wrapper. Need to confirm the type and Size. |  |  |
| 3 | STERILE DRESSING PAD - (ETO & UV) | Outer Layer: cotton gauze Inner Layer: absorbant cotton Size Available: Rolls of (5cm x 5cm), (10cm x 10cm), (10cm x 15cm), (15cm x 20cm). Sterilization: Ethylene Oxide (ETO) and UV | packing: 4 side sealing pack or Blister packing or EO sterilaziation compactable Pouches. Need to confirm the type and Size. |  |  |

| 4 | GAUGE SWAB | Types: 1) Amaricn fold 2) French fold . Types of folds: 8, 12, 16 fold. Size avilable : 5 cm x 5 cm , 7.5 cm x 7.5 cm and 10 cm x 10 cm | We need to choose the type and number of fold. |  |  |
| --- | --- | --- | --- | --- | --- |
| 5 | ABDOMINAL MOPPING PAD ( 30 CM X 30 CM ) | Size avilable :30 cm x 30 cm with X-ray dedectable thread No of ply : 8 ply,12 ply,16 ply avilable | Need to choos the number of plys . |  |  |
| 6 | CHLORHEXIDINE GAUGE DRESSING (10X30 CM),(10X10 CM ) | Size avilable :(10 cm X 30 cm),(10 cm X10 cm ) Gauge cloth coated with CHLORHEXIDINE sandvitched inbetween two oil papers are ready to use. Either gama radiation or EO - sterilization | Packed in Aluminium foil 4 side seal. |  |  |

| 7 | COMBINE DRESSING PAD (VISCOS FABRIC) | Absorbant cotton will be kept inside a folded viscos cloth and two sides will be sealed, so no cotton will be exposed out. Outer Layer: Non-woven viscose fabric Inner Layer: absorbent cotton Size Available: (10 cm x 10 cm), (10 cm x 20 cm), ( 15 cm x 20 cm),( 20 cm x 40 cm) Sterilization: EO gas, gamma radiation | packing: peelable foil pouches 4 side seal or Blister packing or EO sterilaziation compactable Pouches. we can use Viscose cloth or Gauze cloth for the outer layer. Need to confirm the type |  |  |
| --- | --- | --- | --- | --- | --- |
| 8 | ABSORBANT COMBINE DRESSING PAD | Outer layer: Non-woven fabric or cotton gauze Inner layer: Absorbant cotton size avilable:(10 cm x 10 cm), (10 cm x 20 cm), (15 cm x 20 cm), (20 cm x 40 cm) sterilization: gama radiation or EO - sterilization | packing: peelable aluminium foil pouches 4 side seal or Blister packing or EO sterilization compactable pouchesand. need to confirm the type |  |  |
| 9 | PARAFFIN GAUGE DRESSING 10X10 CM | Material used: Open-weave cotton gauze impregnated with soft Paraffin. Size Available:5 cmx5 cm, 10 cmx10 cm, 10 cmx20 cm sterilization: gama radiation or EO - sterilization | Packing: Packed in Aluminium foil 4 side seal or EO sterilaziation compactable Pouches. Need to confirm the size and Type. |  |  |

| 10 | POLYTHEN WATER PROOF WOUND DRESSING | Outer Layer: Transparent polyethylen film (waterproof and Breathable). Inner Layer: absorbent cotton Size Available: (5cm x 5 cm), (10cm x 10 cm), (10cm x 15 cm), (15cm x 20 cm) sterilization: gama radiation or EO - sterilization | packing: EO sterilaziation Compactable pouches. Need to confirm the type and Size. |  |  |
| --- | --- | --- | --- | --- | --- |
| 11 | SANITARY NAPKIN( UV ) | Outer Layer: non-woven fabric Absorbent Core: Superabsorbent polymer (SAP) and cellulose fluff Back Layer: Waterproof polyethylene (PE) film to prevent leakage. Size avilable : (S) 24 cm, (M) 28 cm, (L) 30 cm, (XL) 35 cm, (XXL) 40 cm, 12(XXXL) 45 cm. Sterilization: UV Sterilization | Packing: Individually wrapped in peelable wrapper. Need to confirm the type and size. |  |  |
| 12 | MATERNITY PADS | Outer Layer:non-woven fabric Absorbent Core: Superabsorbent polymer (SAP) and cellulous fluff designed to handle post-partum flow. Back Layer: Waterproof polyethylene (PE) film to prevent leakage and ensure protection. Size Available: Standard: (30 cm), (35 cm), (40 cm) Extra Large: (45 cm) Sterilization: UV Sterilization | Packing: Individually wrapped in peelable wrapper. Need to confirm the type and size. |  |  |

| 13 | COSMETIC BALLS | Material used : Absorbant cotton Size Available: (3 cm), (4 cm), (5 cm) Sterilization: UV or gamma radiation | Packing: Individually packed in plastic or pouches for hygiene (or) Bulk packed in bags or cartons containing 100, 200, or 500 balls. Need to confirm the type and size. |  |  |
| --- | --- | --- | --- | --- | --- |
| 14 | ADULT DIAPER | Outer Layer: non-woven fabric Absorbent Core: Superabsorbent polymer (SAP) and cellulose fluff Back Layer: Waterproof polyethylene (PE) film Size Available: S: (50 cm – 70 cm waist) M: (70 cm – 90 cm waist) L: (90 cm – 110 cm waist) XL: (110 cm – 130 cm waist) XXL: (130 cm – 150 cm waist) | Packing: Individually wrapped in hygienic, peelable pouches. Bulk packed in cartons and PU packs typically with 10, 20, or 30 pieces per pack.Need to confirm the size. |  |  |