| PRODUCTS LIST / CATALOGUE |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| MEDICAL |  |  |  |  |  |
| S.NO | ITEM | TECHNICAL EXPLANATION | REMARKS | IMAGES WITH PACKING | IMAGES OF PRODUCTS |
| 1 | SURGICAL COTTON ABSORBANT , BLEACHED, UNBLEACHED | Rolled surgical cottons Size Available: Rolls of (10g), (25g), (50g), (100g), (300g), (500kg) or custom sizes. sterilization: gama radiation or EO - sterilization | Packing: wrapped in moisture- proof paper. Need to confirm th size |  |  |
| 2 | BANDAGE GAUGE CLOTH | Material used: cotton gauze Size Available: Rolls of (5cm x 3m), (7.5cm x 3m), (10cm x 3m), (15cm x 3m) sterilization: gama radiation or EO - sterilization | Packing: EO sterilaziation compactable pouches or flow wrapping or wrapped with Medical grade wrapper. Need to confirm the type and Size. |  |  |
| 3 | COSMETIC BALLS | Material used : Absorbant cotton Size Available: (3 cm), (4 cm), (5 cm) Sterilization: UV or gamma radiation | Packing: Individually packed in plastic or pouches for hygiene (or) Bulk packed in bags or cartons containing 100, 200, or 500 balls. Need to confirm the type and size. |  |  |
| 4 | GAUGE SWAB | Types: 1) Amaricn fold 2) French fold . Types of folds: 8, 12, 16 fold. Size avilable : 5 cm x 5 cm , 7.5 cm x 7.5 cm and 10 cm x 10 cm | We need to choose the type and number of fold. |  |  |